## bus
BusID | Type | BusPd | BusQd | Gs | Bs | ESystemID | Vm | Va | BaseKV | Zone | Vmax | Vmin |  | Bus no | Max consumption (MW) | Voltage
1 | 2 | 468 | 102 | 0 | 0 | 1 | 1 | 0 | 275 | 1 | 1.1 | 0.9 | 'Beauly' | 1 | 468 | 275
2 | 2 | 513 | 113 | 0 | 0 | 1 | 1 | 0 | 275 | 1 | 1.1 | 0.9 | 'Peterhead' | 2 | 613 | 275
3 | 2 | 555 | 105 | 0 | 0 | 1 | 1 | 0 | 132 | 1 | 1.1 | 0.9 | 'Errochty' | 3 | 555 | 132
4 | 2 | 1308 | 317 | 0 | 0 | 1 | 1 | 0 | 275 | 1 | 1.1 | 0.9 | 'Denny/Bonnybridge' | 4 | 1308 | 275
5 | 2 | 502 | 128 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Neilston' | 5 | 502 | 400
6 | 2 | 1176 | 315 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Strathaven' | 6 | 1176 | 400
7 | 2 | 745 | 171 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Torness' | 7 | 745 | 400
8 | 1 | 117.5 | 37.4 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Eccles' | 8 | 117 | 400
9 | 1 | 130 | 53 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Harker' | 9 | 130 | 400
10 | 2 | 2561 | 465 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Stella West' | 10 | 2561 | 400
11 | 2 | 3360 | 760 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Penwortham' | 11 | 3360 | 400
12 | 2 | 1189 | 338 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Deeside' | 12 | 1189 | 400
13 | 1 | 2524 | 766 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Daines' | 13 | 2574 | 400
14 | 1 | 1831 | 566.5 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Th. Marsh/Stocksbridge' | 14 | 1831 | 400
15 | 2 | 2633 | 694.6 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Thornton/Drax/Eggborough' | 15 | 2633 | 400
16 | 2 | 1607 | 655 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Keadby' | 16 | 1607 | 400
17 | 2 | 1081 | 371 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Ratcliffe' | 17 | 1081 | 400
18 | 2 | 5362 | 1935 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Feckenham' | 18 | 5362 | 400
19 | 2 | 2019 | 648 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Walpole' | 19 | 2069 | 400
20 | 2 | 1027.36 | 305.8 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Bramford' | 20 | 1027 | 400
21 | 2 | 702 | 202.2 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Pelham' | 21 | 702 | 400
22 | 2 | 1820 | 665 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Sundon/East Claydon' | 22 | 1820 | 400
23 | 2 | 4734 | 1337 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Melksham' | 23 | 4784 | 400
24 | 1 | 1418 | 528 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Bramley' | 24 | 1418 | 400
25 | 2 | 9734 | 2902 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'London' | 25 | 9734 | 400
26 | 2 | 1424 | 434 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Kemsley' | 26 | 1424 | 400
27 | 3 | 457 | 138 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Sellindge' | 27 | 457 | 400
28 | 2 | 2751 | 841 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'Lovedean' | 28 | 2751 | 400
29 | 2 | 2577 | 356 | 0 | 0 | 1 | 1 | 0 | 400 | 1 | 1.1 | 0.9 | 'S.W.Penisula' | 29 | 2577 | 400
'Netherlands'
'Belgium'
'France1'
from paper Adequacy and security analysis of interdependent electric and gas networks (基本上数据和所谓新的一模一样） | [12 empty] | 'France2'
'Ireland'
把电力和天然气的负荷按照2024年的全年平均值对齐 | [12 empty] | 'N. Ireland'
28420

## branch
FromBus | ToBus | R | X | b | RateA | RateB | RateC | K | Angle | Status | ang_min | ang_max
1 | 2 | 0.0122 | 0.02 | 0.0856 | 525 | 525 | 525 | 0 | 0 | 1 | -360 | 360
1 | 3 | 0.007 | 0.15 | 0.052 | 132 | 132 | 132 | 1 | 2 | 1 | -360 | 360
1 | 2 | 0.0122 | 0.02 | 0.2844 | 525 | 525 | 525 | 0 | 0 | 1 | -360 | 360
1 | 3 | 0.007 | 0.15 | 0.052 | 132 | 132 | 132 | 1 | 2 | 1 | -360 | 360
2 | 4 | 0.0004 | 0.065 | 0.4454 | 760 | 760 | 760 | 0 | 0 | 1 | -360 | 360
2 | 4 | 0.0004 | 0.065 | 0.5545 | 760 | 760 | 760 | 0 | 0 | 1 | -360 | 360
4 | 7 | 0.00211 | 0.0135 | 0.1174 | 1090 | 1090 | 1090 | 0 | 0 | 1 | -360 | 360
4 | 6 | 0.0013 | 0.023 | 0.1496 | 1500 | 1500 | 1500 | 0 | 0 | 1 | -360 | 360
4 | 6 | 0.0013 | 0.023 | 0.1758 | 1120 | 1120 | 1120 | 0 | 0 | 1 | -360 | 360
4 | 5 | 0.001 | 0.024 | 0.125 | 1000 | 1000 | 1000 | 0 | 0 | 1 | -360 | 360
4 | 5 | 0.001 | 0.024 | 0.125 | 1000 | 1000 | 1000 | 0 | 0 | 1 | -360 | 360
4 | 7 | 0.0021 | 0.0135 | 0.1538 | 1090 | 1090 | 1090 | 0 | 0 | 1 | -360 | 360
5 | 6 | 0.00085 | 0.01051 | 0.38254 | 1390 | 1390 | 1390 | 0 | 0 | 1 | -360 | 360
5 | 6 | 0.00151 | 0.01613 | 0.59296 | 1390 | 1390 | 1390 | 0 | 0 | 1 | -360 | 360
6 | 9 | 0.00078 | 0.00852 | 0.0737 | 2100 | 2100 | 2100 | 0 | 0 | 1 | -360 | 360
6 | 9 | 0.00078 | 0.00852 | 0.4635 | 2100 | 2100 | 2100 | 0 | 0 | 1 | -360 | 360
7 | 8 | 0.0004 | 0.0001 | 0.728 | 2180 | 2180 | 2180 | 0 | 0 | 1 | -360 | 360
7 | 8 | 0.0004 | 0.0001 | 1.2872 | 2500 | 2500 | 2500 | 0 | 0 | 1 | -360 | 360
7 | 6 | 0.003 | 0.2 | 0.2939 | 950 | 950 | 950 | 0 | 0 | 1 | -360 | 360
7 | 6 | 0.003 | 0.2 | 0.2939 | 950 | 950 | 950 | 0 | 0 | 1 | -360 | 360
8 | 10 | 0.00083 | 0.0175 | 0.6624 | 3070 | 3070 | 3070 | 0 | 0 | 1 | -360 | 360
8 | 10 | 0.00083 | 0.0175 | 0.6624 | 3070 | 3070 | 3070 | 0 | 0 | 1 | -360 | 360
9 | 11 | 0.00164 | 0.0163 | 0.4868 | 1390 | 1390 | 1390 | 0 | 0 | 1 | -360 | 360
9 | 11 | 0.00164 | 0.0163 | 0.4868 | 1390 | 1390 | 1390 | 0 | 0 | 1 | -360 | 360
9 | 10 | 0.00352 | 0.02453 | 0.1898 | 855 | 855 | 855 | 0 | 0 | 1 | -360 | 360
9 | 10 | 0.00492 | 0.0343 | 0.2502 | 775 | 775 | 775 | 0 | 0 | 1 | -360 | 360
10 | 15 | 0.00053 | 0.00835 | 5.373 | 4840 | 4840 | 4840 | 0 | 0 | 1 | -360 | 360
10 | 15 | 0.00052 | 0.0063 | 1.0636 | 4020 | 4020 | 4020 | 0 | 0 | 1 | -360 | 360
11 | 15 | 0.0007 | 0.042 | 0.3907 | 2520 | 2520 | 2520 | 0 | 0 | 1 | -360 | 360
11 | 15 | 0.00099 | 0.042 | 0.5738 | 2520 | 2520 | 2520 | 0 | 0 | 1 | -360 | 360
11 | 13 | 0.0004 | 0.0052 | 0.2498 | 2170 | 2170 | 2170 | 0 | 0 | 1 | -360 | 360
11 | 13 | 0.0004 | 0.0052 | 0.2664 | 2210 | 2210 | 2210 | 0 | 0 | 1 | -360 | 360
11 | 12 | 0.0001 | 0.0085 | 0.0798 | 3320 | 3320 | 3320 | 0 | 0 | 1 | -360 | 360
11 | 12 | 0.0001 | 0.0085 | 0.0798 | 3320 | 3320 | 3320 | 0 | 0 | 1 | -360 | 360
12 | 13 | 0.00096 | 0.01078 | 0.385 | 3100 | 3100 | 3100 | 0 | 0 | 1 | -360 | 360
12 | 18 | 0.00074 | 0.009 | 0.2911 | 2400 | 2400 | 2400 | 1 | 2 | 1 | -360 | 360
12 | 18 | 0.00097 | 0.009 | 0.3835 | 2400 | 2400 | 2400 | 0 | 0 | 1 | -360 | 360
12 | 13 | 0.00096 | 0.01078 | 0.385 | 3100 | 3100 | 3100 | 1 | 2 | 1 | -360 | 360
13 | 18 | 0.00049 | 0.007 | 0.1943 | 2400 | 2400 | 2400 | 0 | 0 | 1 | -360 | 360
13 | 18 | 0.00084 | 0.007 | 0.7759 | 2400 | 2400 | 2400 | 0 | 0 | 1 | -360 | 360
13 | 15 | 0.00137 | 0.023 | 0.6643 | 1240 | 1240 | 1240 | 0 | 0 | 1 | -360 | 360
13 | 15 | 0.00164 | 0.023 | 0.1104 | 955 | 955 | 955 | 0 | 0 | 1 | -360 | 360
13 | 14 | 0.00107 | 0.01163 | 1.1745 | 1040 | 1040 | 1040 | 0 | 0 | 1 | -360 | 360
13 | 14 | 0.00082 | 0.01201 | 1.2125 | 1040 | 1040 | 1040 | 0 | 0 | 1 | -360 | 360
14 | 16 | 0.0005 | 0.016 | 0.2795 | 2580 | 2580 | 2580 | 0 | 0 | 1 | -360 | 360
14 | 16 | 0.005 | 0.018 | 0.1466 | 625 | 625 | 625 | 0 | 0 | 1 | -360 | 360
15 | 16 | 0.00033 | 0.0052 | 0.3534 | 2770 | 2770 | 2770 | 0 | 0 | 1 | -360 | 360
15 | 16 | 0.00016 | 0.00172 | 0.3992 | 5540 | 5540 | 5540 | 0 | 0 | 1 | -360 | 360
15 | 14 | 0.00019 | 0.00222 | 0.7592 | 5000 | 5000 | 5000 | 0 | 0 | 1 | -360 | 360
15 | 14 | 0.00018 | 0.00222 | 0.5573 | 5000 | 5000 | 5000 | 0 | 0 | 1 | -360 | 360
16 | 19 | 0.00056 | 0.0141 | 0.4496 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
16 | 19 | 0.00056 | 0.0141 | 0.4496 | 3820 | 3820 | 3820 | 0 | 0 | 1 | -360 | 360
17 | 16 | 0.001 | 0.01072 | 0.2651 | 2150 | 2150 | 2150 | 0 | 0 | 1 | -360 | 360
17 | 16 | 0.001 | 0.01072 | 0.4573 | 1890 | 1890 | 1890 | 0 | 0 | 1 | -360 | 360
17 | 22 | 0.00068 | 0.0097 | 0.4566 | 2100 | 2100 | 2100 | 0 | 0 | 1 | -360 | 360
17 | 22 | 0.00069 | 0.0097 | 0.4574 | 2100 | 2100 | 2100 | 0 | 0 | 1 | -360 | 360
18 | 17 | 0.00042 | 0.0018 | 0.2349 | 3100 | 3100 | 3100 | 0 | 0 | 1 | -360 | 360
18 | 17 | 0.00042 | 0.0018 | 0.2349 | 3460 | 3460 | 3460 | 0 | 0 | 1 | -360 | 360
18 | 23 | 0.00138 | 0.0096 | 0.4829 | 1970 | 1970 | 1970 | 0 | 0 | 1 | -360 | 360
18 | 23 | 0.00117 | 0.0096 | 0.4122 | 1970 | 1970 | 1970 | 0 | 0 | 1 | -360 | 360
20 | 26 | 0.00035 | 0.0023 | 0.2249 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
20 | 26 | 0.00035 | 0.0023 | 0.2249 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
20 | 19 | 0.00178 | 0.0213 | 0.6682 | 1590 | 1590 | 1590 | 0 | 0 | 1 | -360 | 360
20 | 19 | 0.00132 | 0.0143 | 0.3656 | 1590 | 1590 | 1590 | 0 | 0 | 1 | -360 | 360
21 | 16 | 0.00145 | 0.01824 | 0.9169 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
21 | 16 | 0.00145 | 0.01824 | 0.9169 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
21 | 25 | 0.00025 | 0.01 | 0.1586 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
21 | 25 | 0.00025 | 0.01 | 0.1586 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
21 | 20 | 0.0012 | 0.0048 | 0.4446 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
21 | 20 | 0.0012 | 0.0048 | 0.7 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
21 | 19 | 0.00037 | 0.0059 | 0.294 | 3030 | 3030 | 3030 | 0 | 0 | 1 | -360 | 360
21 | 19 | 0.00037 | 0.0059 | 0.2955 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
22 | 16 | 0.00178 | 0.0172 | 0.8403 | 2010 | 2010 | 2010 | 0 | 0 | 1 | -360 | 360
22 | 16 | 0.00178 | 0.0172 | 0.627 | 2010 | 2010 | 2010 | 0 | 0 | 1 | -360 | 360
22 | 25 | 0.00037 | 0.0041 | 0.4098 | 3275 | 3275 | 3275 | 0 | 0 | 1 | -360 | 360
22 | 25 | 0.00034 | 0.0041 | 0.429 | 3275 | 3275 | 3275 | 0 | 0 | 1 | -360 | 360
22 | 21 | 0.00019 | 0.00111 | 0.1232 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
22 | 21 | 0.00048 | 0.0061 | 0.3041 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
23 | 29 | 0.00151 | 0.0182 | 0.53 | 2010 | 2010 | 2010 | 0 | 0 | 1 | -360 | 360
23 | 24 | 0.00086 | 0.0008 | 0.9622 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
23 | 24 | 0.00023 | 0.0007 | 2.8447 | 4400 | 4400 | 4400 | 0 | 0 | 1 | -360 | 360
23 | 22 | 0.00055 | 0.003 | 0.3468 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
23 | 22 | 0.00039 | 0.003 | 0.2466 | 2770 | 2770 | 2770 | 0 | 0 | 1 | -360 | 360
23 | 29 | 0.00151 | 0.0182 | 0.53 | 2010 | 2010 | 2010 | 0 | 0 | 1 | -360 | 360
24 | 28 | 0.00068 | 0.007 | 0.2388 | 2210 | 2210 | 2210 | 0 | 0 | 1 | -360 | 360
24 | 25 | 0.00104 | 0.0091 | 0.2918 | 1390 | 1390 | 1390 | 0 | 0 | 1 | -360 | 360
24 | 25 | 0.00104 | 0.0091 | 0.2918 | 1390 | 1390 | 1390 | 0 | 0 | 1 | -360 | 360
24 | 28 | 0.00068 | 0.007 | 0.2388 | 2210 | 2210 | 2210 | 0 | 0 | 1 | -360 | 360
25 | 26 | 0.0002 | 0.0057 | 0.532 | 6960 | 6960 | 6960 | 0 | 0 | 1 | -360 | 360
25 | 26 | 0.0002 | 0.0057 | 0.532 | 5540 | 5540 | 5540 | 0 | 0 | 1 | -360 | 360
27 | 26 | 0.0002 | 0.00503 | 0.1797 | 3100 | 3100 | 3100 | 0 | 0 | 1 | -360 | 360
27 | 26 | 0.0002 | 0.00503 | 0.1797 | 3100 | 3100 | 3100 | 0 | 0 | 1 | -360 | 360
28 | 27 | 0.00038 | 0.00711 | 0.2998 | 3070 | 3070 | 3070 | 0 | 0 | 1 | -360 | 360
28 | 27 | 0.00038 | 0.00711 | 0.2998 | 3070 | 3070 | 3070 | 0 | 0 | 1 | -360 | 360
29 | 28 | 0.00051 | 0.00796 | 0.34 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
29 | 28 | 0.00051 | 0.00796 | 0.34 | 2780 | 2780 | 2780 | 0 | 0 | 1 | -360 | 360
3 | 4 | 0.003 | 0.041 | 0.0044 | 648 | 648 | 648 | 0 | 0 | 1 | -360 | 360
3 | 4 | 0.003 | 0.041 | 0.044 | 648 | 648 | 648 | 0 | 0 | 1 | -360 | 360
3 | 2 | 0.03004 | 0.077 | 0.0124 | 652 | 652 | 652 | 0 | 0 | 1 | -360 | 360

## gen
BusID | Pg | Qg | Qmax | Qmin | Vg | mBase | Status | Pmax | Pmin | Pc1 | Pc2 | Qc1min | Qc1max | Qc2min | Qc2max | RampRate | ramp_10 | ramp_30 | ramp_q | apf |  | Power plant ramp rate | PP typology | Max. ramp rate (p.u./min) |  | Generators data. | PP no. | El. bus connection | Max./Min. generation (MW) | Typology | Gas node connection
1 | 493.5 | -24.62 | 139.22 | -188.46 | 1 | 100 | 1 | 668 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82384.8 |  |  | Hydro | 10 |  | 1 | 1 | 554/277 | Hydro | –
1 | 549.58 | 19.47 | 105.23 | -66.3 | 1 | 100 | 1 | 554.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Pumped storage | 6 |  | 2 | 1 | 300/150 | Pumped | storage | –
1 | 0 | 40 | 180 | -100 | 1 | 100 | 1 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Nuclear | 0.001 |  | 3 | 1 | 2025-09-19 | Unspecified | –
1 | 18.72 | -0.6 | 7.8 | -8.99 | 1 | 100 | 1 | 18.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | OCGT | 0.05 |  | 4 | 2 | 1524/762 | CCGT | (GFPP | 1) | 2
2 | 36.43 | -1.67 | 14.33 | -17.67 | 1 | 100 | 1 | 50.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | CCGT/CHP | 0.1 |  | 5 | 2 | 2025-06-12 | CHP | (GFPP | 2) | 2
2 | 1524 | 317.58 | 1108.51 | -473.36 | 1 | 100 | 1 | 1524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Coal/Oil | 0.04 |  | 6 | 3 | 553/277 | Hydro | –
2 | 12 | 0 | 0 | 0 | 1 | 100 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Unspecified | 0.04 |  | 7 | 3 | 2025-08-15 | Unspecified | –
3 | 387.9 | -14.9 | 128.34 | -158.14 | 1 | 100 | 1 | 550.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 8 | 4 | 259/130 | CHP | (GFPP | 3) | 4
3 | 13.54 | -3.51 | -3.51 | -3.51 | 1 | 100 | 1 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 9 | 4 | 2284/1142 | Large | unit | coal | –
3 | 553 | 39.31 | 144.79 | -66.17 | 1 | 100 | 1 | 553.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 10 | 4 | 440/220 | Pumped | storage | –
3 | 15.12 | -0.39 | 6.51 | -7.29 | 1 | 100 | 1 | 15.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 11 | 5 | 2025-12-23 | CCGT | (GFPP | 4) | 5
4 | 25.2 | -0.84 | 10.66 | -12.34 | 1 | 100 | 1 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 12 | 5 | 1074/537 | Nuclear | AGR | –
4 | 2284 | -18.77 | 641.47 | -679 | 1 | 100 | 1 | 2284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 13 | 6 | 33/17 | Hydro | –
4 | 340 | 6.24 | 150.34 | -137.86 | 1 | 100 | 1 | 440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 14 | 6 | 49/25 | Unspecified | –
4 | 259 | 7.16 | 137.27 | -122.95 | 1 | 100 | 1 | 259 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 15 | 7 | 1215/608 | Nuclear | AGR | –
5 | 1074 | -6.65 | 416.47 | -429.77 | 1 | 100 | 1 | 1074 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 16 | 7 | 1102/551 | Medium | unit | coal | –
5 | 23.2 | 2.72 | 15.39 | -9.94 | 1 | 100 | 1 | 23.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 17 | 10 | 1875/938 | CCGT | (GFPP | 5) | 10
6 | 1001.52 | -22.57 | 439.66 | -484.8 | 1 | 100 | 1 | 1390.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 18 | 10 | 1207/604 | Nuclear | AGR | –
6 | 33 | -0.35 | 24.8 | -25.5 | 1 | 100 | 1 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 19 | 10 | 420/210 | small | unit | coal | –
6 | 49.4 | -2.7 | 12.09 | -17.49 | 1 | 100 | 1 | 49.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 20 | 11 | 1039/520 | CCGT | (GFPP | 6) | 44
7 | 226.8 | -2.63 | 125.76 | -131.02 | 1 | 100 | 1 | 314.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 21 | 11 | 155/78 | CHP | (GFPP | 7) | 44
7 | 1216 | 106.13 | 681.34 | -469.07 | 1 | 100 | 1 | 1215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 22 | 11 | 2406/1203 | Nuclear | AGR | –
7 | 1104 | 7.55 | 220.34 | -205.24 | 1 | 100 | 1 | 1102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 23 | 11 | 1987/994 | Large | unit | coal | –
10 | 1208 | 9.76 | 559.19 | -539.68 | 1 | 100 | 1 | 1207 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 24 | 12 | 1885/943 | CCGT | (GFPP | 8) | 46
10 | 1875 | -66.23 | 697.17 | -829.63 | 1 | 100 | 1 | 1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 25 | 12 | 210/105 | CHP | (GFPP | 9) | 46
10 | 420 | 14.95 | 167.95 | -138.04 | 1 | 100 | 1 | 420 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 26 | 12 | 980/490 | Nuclear | Magnox | –
11 | 130.32 | -57.6 | -57.6 | -57.6 | 1 | 100 | 1 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 27 | 12 | 2004/1002 | Pumped | storage | –
11 | 2406 | 104.89 | 1216.1 | -1006.32 | 1 | 100 | 1 | 2406 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 28 | 15 | 7832/3916 | Large | unit | coal | –
11 | 1961 | 150.88 | 873.22 | -571.46 | 1 | 100 | 1 | 1987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 29 | 16 | 7040/3520 | CCGT | (GFPP | 10) | 20
11 | 155 | 9.51 | 94.22 | -75.21 | 1 | 100 | 1 | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 30 | 16 | 1218/609 | CHP | (GFPP | 11) | 20
11 | 1039 | 65.62 | 670.32 | -539.07 | 1 | 100 | 1 | 1039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 31 | 16 | 3987/1994 | Large | unit | coal | –
12 | 980 | 80.93 | 579.98 | -418.12 | 1 | 100 | 1 | 980 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 32 | 17 | 2021/1011 | Large | unit | coal | –
12 | 1885 | 53.49 | 960.05 | -853.06 | 1 | 100 | 1 | 1885 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 33 | 18 | 228/114 | CHP | (GFPP | 12) | 37
12 | 210 | 10.73 | 116.42 | -94.97 | 1 | 100 | 1 | 210 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 34 | 18 | 1982/991 | Large | unit | coal | –
12 | 1096 | -115.52 | 344.48 | -575.52 | 1 | 100 | 1 | 2004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 35 | 19 | 2845/1423 | CCGT | (GFPP | 13) | 28
15 | 7800 | 503.58 | 3535.03 | -2527.87 | 1 | 100 | 1 | 7832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 36 | 19 | 407/203 | Unspecified | –
16 | 3972 | 148.72 | 1587.06 | -1289.62 | 1 | 100 | 1 | 3987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 37 | 20 | 1200/600 | Nuclear | PWR | –
16 | 7041 | 149.33 | 3653.23 | -3354.58 | 1 | 100 | 1 | 7040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 38 | 20 | 360/180 | Unspecified | –
16 | 1218 | 102.24 | 767.33 | -562.85 | 1 | 100 | 1 | 1218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 39 | 21 | 665/333 | CCGT | (GFPP | 14) | 33
17 | 2000 | 204.15 | 814.23 | -405.94 | 1 | 100 | 1 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 40 | 22 | 401/201 | CCGT | (GFPP | 15) | 30
18 | 1960 | 175.4 | 884.97 | -534.17 | 1 | 100 | 1 | 1982 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 41 | 23 | 4431/2216 | CCGT | (GFPP | 16) | 59
18 | 228 | -16.78 | 40.02 | -73.58 | 1 | 100 | 1 | 228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 42 | 23 | 100/50 | OCGT | (GFPP | 17) | 59
19 | 2845 | -66.18 | 1336.63 | -1468.98 | 1 | 100 | 1 | 2845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 43 | 23 | 3801/1901 | Large | unit | coal | –
19 | 406.8 | 0 | 162.7 | -162.7 | 1 | 100 | 1 | 406.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 44 | 23 | 363/182 | Small | unit | coal | –
20 | 1200 | 48.88 | 621.14 | -523.38 | 1 | 100 | 1 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 45 | 23 | 470/235 | Nuclear | Magnox | –
20 | 360 | 236.64 | 236.64 | 236.64 | 1 | 100 | 1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 46 | 25 | 2123/1062 | CCGT | (GFPP | 18) | 38
21 | 665 | 10.04 | 326.15 | -306.07 | 1 | 100 | 1 | 665 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 47 | 25 | 1245/623 | Oil | –
22 | 401.1 | -21.48 | 189.72 | -232.68 | 1 | 100 | 1 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 48 | 26 | 3165/1583 | CCGT | (GFPP | 19) | 36
23 | 3772 | 100.7 | 1589.67 | -1388.27 | 1 | 100 | 1 | 3801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 49 | 26 | 1966/983 | Large | unit | coal | –
23 | 363 | -34.59 | 84.81 | -153.99 | 1 | 100 | 1 | 363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 50 | 26 | 1131/566 | Medium | unit | coal | –
23 | 470 | 53.16 | 317.76 | -211.43 | 1 | 100 | 1 | 470.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 51 | 26 | 1355/678 | Oil | –
23 | 3081.01 | -30.71 | 1200.81 | -1262.24 | 1 | 100 | 1 | 4431 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 52 | 27 | 1081/541 | Nuclear | AGR | –
23 | 0 | 0 | 0 | 0 | 1 | 100 | 1 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 53 | 28 | 1320/660 | CCGT | (GFPP | 20) | 41
25 | 2123 | 0.98 | 949.38 | -947.42 | 1 | 100 | 1 | 2123 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 54 | 28 | 208/104 | CHP | (GFPP | 21) | 41
25 | 0 | 0 | 0 | 0 | 1 | 100 | 1 | 1245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 55 | 29 | 905/453 | CCGT | (GFPP | 22) | 43
26 | 1940 | 225.05 | 881.44 | -431.35 | 1 | 100 | 1 | 1966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 56 | 29 | 140/70 | OCGT | (GFPP | 23) | 43
26 | 1104 | 44.74 | 384.11 | -294.62 | 1 | 100 | 1 | 1131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 57 | 29 | 1261/631 | Nuclear | AGR | –
26 | 2465 | 69.94 | 1254.53 | -1114.64 | 1 | 100 | 1 | 3165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 1 | 100 | 1 | 1355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 1082 | 62.12 | 666.03 | -541.79 | 1 | 100 | 1 | 1081 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 216 | 35.5 | 71 | 0 | 1 | 100 | 1 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 1320 | 39.06 | 657.82 | -579.7 | 1 | 100 | 1 | 1320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 208 | -5.21 | 60.79 | -71.21 | 1 | 100 | 1 | 208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 1261 | -12.56 | 455.32 | -480.43 | 1 | 100 | 1 | 1261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 905 | -4.34 | 403.35 | -412.03 | 1 | 100 | 1 | 905 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 1 | 100 | 1 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## gencost
CostType | StartCost | ShutCost | Order | CostA | CostB | CostC
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 4.42 | 395.37
2 | 1500 | 0 | 3 | 0.33 | 56.56 | 86.38
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 4.42 | 395.37
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0.33 | 12.38 | 382.24
2 | 1500 | 0 | 3 | 0.33 | 56.56 | 86.38
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 118 | 86.38
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 4.42 | 395.37
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 118 | 86.38
2 | 1500 | 0 | 3 | 0.39 | 16.38 | 400.68
2 | 1500 | 0 | 3 | 0 | 118 | 86.38
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0.1 | 19.38 | 639.98
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 118 | 86.38
2 | 1500 | 0 | 3 | 0.33 | 12.38 | 382.24
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0.01 | 10.3 | 382.15
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0.33 | 56.56 | 86.38
2 | 1500 | 0 | 3 | 0.33 | 12.38 | 382.24
2 | 1500 | 0 | 3 | 0.33 | 12.38 | 382.24
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0.33 | 12.38 | 382.24
2 | 1500 | 0 | 3 | 0.33 | 12.38 | 382.24
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0.01 | 10.3 | 392.15
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0.33 | 12.38 | 382.24
2 | 1500 | 0 | 3 | 0.1 | 19.38 | 639.98
2 | 1500 | 0 | 3 | 0.01 | 10.3 | 382.15
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 130 | 650
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0.33 | 11.84 | 665.11
2 | 1500 | 0 | 3 | 0.33 | 12.38 | 382.24
2 | 1500 | 0 | 3 | 0.39 | 16.38 | 400.68
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0.33 | 11.84 | 665.11
2 | 1500 | 0 | 3 | 0 | 118 | 86.38
2 | 1500 | 0 | 3 | 0 | 0.01 | 0.01
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 118 | 86.38
2 | 1500 | 0 | 3 | 0 | 130 | 400.68
2 | 1500 | 0 | 3 | 0 | 130 | 650

## Gbus
BusID | BusType | Demand | pr0 | prs_min | prs_max | Name | Lat | Lon | Gas network node data.
1 | 3 | 0 | 65 | 40 | 80 | St. Fergus | 57.5588 | -1.8377 | Node number | Initial pressure (Pa) | % of Load or source
2 | 3 | 0 | 65 | 40 | 80 | Aberdeen | 57.1499 | -2.0965 | 1 | 6.5 | + | 6 | 0 |  |  | 65
3 | 2 | 0.55 | 63.5 | 40 | 80 | Aberdeen | 57.1499 | -2.0965 | 2 | 6.5 | + | 6 | 0 |  |  | 65
4 | 3 | 0 | 65 | 40 | 80 | Bathgate | 55.9021 | -3.6449 | 3 | 6.35 | + | 6 | 0.55 |  |  | 63.5
5 | 2 | 2.05 | 52.5 | 40 | 80 | Bathgate | 55.9021 | -3.6449 | 4 | 6.5 | + | 6 | 0 |  |  | 65
6 | 3 | 0 | 65 | 40 | 80 | Wooler | 55.5456 | -2.0128 | 5 | 5.25 | + | 6 | 2.05 |  |  | 52.5
7 | 2 | 0.32 | 63.2 | 40 | 80 | Wooler | 55.5456 | -2.0128 | 6 | 6.5 | + | 6 | 0 |  |  | 65
8 | 3 | 0 | 62.8 | 40 | 80 | Teesside | 54.5821 | -1.2135 | 7 | 6.32 | + | 6 | 0.32 |  |  | 63.2
9 | 3 | 0 | 65 | 40 | 80 | Bishop Auckland | 54.6642 | -1.6784 | 8 | 6.28 | + | 6 | 0 |  |  | 62.8
10 | 2 | 2.66 | 62.2 | 40 | 80 | Bishop Auckland | 54.6642 | -1.6784 | 9 | 6.5 | + | 6 | 0 |  |  | 65
11 | 3 | 0 | 65 | 40 | 80 | Howcleugh | 55.3641 | -3.4864 | 10 | 6.22 | + | 6 | 2.66 |  |  | 62.2
12 | 2 | 0.17 | 59.6 | 40 | 80 | Howcleugh | 55.3641 | -3.4864 | 11 | 6.5 | + | 6 | 0 |  |  | 65
13 | 2 | 1.09 | 62.4 | 40 | 80 | Longtown | 55.0097 | -2.9718 | 12 | 5.96 | + | 6 | 0.17 |  |  | 59.6
14 | 3 | 0 | 61.1 | 40 | 80 | Barrow | 54.1116 | -3.2257 | 13 | 6.24 | + | 6 | 1.09 |  |  | 62.4
15 | 3 | 0 | 65 | 40 | 80 | Lupton | 54.2256 | -2.6846 | 14 | 6.11 | + | 6 | 0 |  |  | 61.1
16 | 2 | 0.89 | 57.9 | 40 | 80 | Lupton | 54.2256 | -2.6846 | 15 | 6.5 | + | 6 | 0 |  |  | 65
17 | 2 | 4.99 | 62.7 | 40 | 80 | Asselby | 53.7443 | -0.91467 | 16 | 5.79 | + | 6 | 0.89 |  |  | 57.9
18 | 3 | 0 | 62.7 | 40 | 80 | Easington | 53.6576 | 0.11763 | 17 | 6.27 | + | 6 | 4.99 |  |  | 62.7
19 | 2 | 1.22 | 62.7 | 40 | 80 | Paull | 53.7191 | -0.23093 | 18 | 6.27 | + | 6 | 0 |  |  | 62.7
20 | 3 | 0 | 65 | 40 | 80 | Blyborough | 53.4373 | -0.59059 | 19 | 6.27 | + | 6 | 1.22 |  |  | 62.7
21 | 2 | 4.99 | 43.7 | 40 | 80 | Blyborough | 53.4373 | -0.59059 | 20 | 6.5 | + | 6 | 0 |  |  | 65
22 | 3 | 0 | 63.4 | 40 | 80 | Theddkethorpe | 53.3763 | 0.22101 | 21 | 4.37 | + | 6 | 4.99 |  |  | 43.7
23 | 3 | 0 | 65 | 40 | 80 | Hatton | 53.2699 | -0.23992 | 22 | 6.34 | + | 6 | 0 |  |  | 63.4
24 | 2 | 3.52 | 62.7 | 40 | 80 | Hatton | 53.2699 | -0.23992 | 23 | 6.5 | + | 6 | 0 |  |  | 65
25 | 2 | 0.06 | 55 | 40 | 80 | Bacton | 52.8494 | 1.4652 | 24 | 6.27 | + | 6 | 3.52 |  |  | 62.7
26 | 3 | 0 | 65 | 40 | 80 | Kings Lynn | 52.7515 | 0.40175 | 25 | 5.5 | + | 6 | 0.06 |  |  | 55
27 | 2 | 0.06 | 50.5 | 40 | 80 | Kings Lynn | 52.7515 | 0.40175 | 26 | 6.5 | + | 6 | 0 |  |  | 65
28 | 3 | 0 | 65 | 40 | 80 | Wisbech | 52.6667 | 0.16051 | 27 | 5.05 | + | 6 | 0.06 |  |  | 50.5
29 | 2 | 2.36 | 63.5 | 40 | 80 | Wisbech | 52.6667 | 0.16051 | 28 | 6.5 | + | 6 | 0 |  |  | 65
30 | 3 | 0 | 65 | 40 | 80 | Peterborough | 52.5744 | -0.25103 | 29 | 6.35 | + | 6 | 2.36 |  |  | 63.5
31 | 2 | 1.06 | 61 | 40 | 80 | Peterborough | 52.5744 | -0.25103 | 30 | 6.5 | + | 6 | 0 |  |  | 65
32 | 3 | 0 | 65 | 40 | 80 | Huntingdon | 52.3321 | -0.18574 | 31 | 6.1 | + | 6 | 1.06 |  |  | 61
33 | 2 | 4.56 | 53.9 | 40 | 80 | Huntingdon | 52.3321 | -0.18574 | 32 | 6.5 | + | 6 | 0 |  |  | 65
34 | 3 | 0 | 65 | 40 | 80 | Chelmsford | 51.7355 | 0.46744 | 33 | 5.39 | + | 6 | 4.56 |  |  | 53.9
35 | 2 | 3.26 | 55 | 40 | 80 | Chelmsford | 51.7355 | 0.46744 | 34 | 6.5 | + | 6 | 0 |  |  | 65
36 | 2 | 1.26 | 64 | 40 | 80 | Isle of Grain | 51.4554 | 0.71604 | 35 | 5.5 | + | 6 | 3.26 |  |  | 55
37 | 2 | 10.06 | 64.1 | 40 | 80 | Shorne | 51.4142 | 0.43163 | 36 | 6.4 | + | 6 | 1.26 |  |  | 64
38 | 2 | 5.02 | 64.3 | 40 | 80 | Steppingley | 52.0074 | -0.52888 | 37 | 6.41 | + | 6 | 10.06 |  |  | 64.1
39 | 3 | 0 | 65 | 40 | 80 | Aylesbury | 51.8185 | -0.8168 | 38 | 6.43 | + | 6 | 5.02 |  |  | 64.3
40 | 2 | 4.89 | 63.1 | 40 | 80 | Aylesbury | 51.8185 | -0.8168 | 39 | 6.5 | + | 6 | 0 |  |  | 65
41 | 3 | 0 | 65 | 40 | 80 | Lockerley | 51.0379 | -1.5861 | 40 | 6.31 | + | 6 | 4.89 |  |  | 63.1
42 | 2 | 4.41 | 60.9 | 40 | 80 | Lockerley | 51.0379 | -1.5861 | 41 | 6.5 | + | 6 | 0 |  |  | 65
43 | 2 | 2.06 | 63.3 | 40 | 80 | Ilchester | 51.0049 | -2.6818 | 42 | 6.09 | + | 6 | 4.41 |  |  | 60.9
44 | 2 | 2.81 | 63 | 40 | 80 | Warrington | 53.3942 | -2.602 | 43 | 6.33 | + | 6 | 2.06 |  |  | 63.3
45 | 2 | 0.15 | 61.7 | 40 | 80 | Maelor | 53.0668 | -2.8602 | 44 | 6.3 | + | 6 | 2.81 |  |  | 63
46 | 2 | 8.87 | 59.8 | 40 | 80 | Mickle Trafford | 53.221 | -2.8322 | 45 | 6.17 | + | 6 | 0.15 |  |  | 61.7
47 | 2 | 3.72 | 59.7 | 40 | 80 | Audley | 53.0548 | -2.3062 | 46 | 5.98 | + | 6 | 8.87 |  |  | 59.8
48 | 3 | 0 | 65 | 40 | 80 | Alrewas | 52.7329 | -1.7499 | 47 | 5.97 | + | 6 | 3.72 |  |  | 59.7
49 | 2 | 2.2 | 59.7 | 40 | 80 | Alrewas | 52.7329 | -1.7499 | 48 | 6.5 | + | 6 | 0 |  |  | 65
50 | 3 | 0 | 65 | 40 | 80 | Churchover | 52.4205 | -1.2453 | 49 | 5.97 | + | 6 | 2.2 |  |  | 59.7
51 | 2 | 5.98 | 63 | 40 | 80 | Churchover | 52.4205 | -1.2453 | 50 | 6.5 | + | 6 | 0 |  |  | 65
52 | 3 | 0 | 65 | 40 | 80 | Wormington | 52.0263 | -1.9414 | 51 | 6.3 | + | 6 | 5.98 |  |  | 63
53 | 3 | 0 | 65 | 40 | 80 | Llanvetherine | 51.8498 | -2.9208 | 52 | 6.5 | + | 6 | 0 |  |  | 65
54 | 2 | 3.08 | 59.1 | 40 | 80 | Llanvetherine | 51.8498 | -2.9208 | 53 | 6.5 | + | 6 | 0 |  |  | 65
55 | 2 | 2.04 | 63.1 | 40 | 80 | Dowlais | 51.7624 | -3.3486 | 54 | 5.91 | + | 6 | 3.08 |  |  | 59.1
56 | 3 | 0 | 62.5 | 40 | 80 | Milford Haven | 51.7146 | -5.0422 | 55 | 6.31 | + | 6 | 2.04 |  |  | 63.1
57 | 3 | 0 | 62.4 | 40 | 80 | Felindre | 51.707 | -3.9723 | 56 | 6.25 | + | 6 | 0 |  |  | 62.5
58 | 3 | 0 | 65 | 40 | 80 | Felindre | 51.707 | -3.9723 | 57 | 6.24 | + | 6 | 0 |  |  | 62.4
59 | 2 | 0.75 | 63.7 | 40 | 80 | Wormington | 52.0263 | -1.9414 | 58 | 6.5 | + | 6 | 0 |  |  | 65
60 | 2 | 1.46 | 63.5 | 40 | 80 | Pucklechurch | 51.487 | -2.4363 | 59 | 6.37 | + | 6 | 0.75 |  |  | 63.7
61 | 2 | 0.03 | 63.5 | 40 | 80 | St. Fergus | 57.5588 | -1.8377 | 60 | 6.35 | + | 6 | 1.46 |  |  | 63.5
62 | 2 | 0.67 | 63.3 | 40 | 80 | St. Fergus | 57.5588 | -1.8377 | 61 | 6.35 | + | 6 | 0.03 |  |  | 63.5
63 | 1 | 0 | 68.5 | 40 | 80 | St. Fergus | 57.5588 | -1.8377 | 62 | 6.33 | + | 6 | 0.67 |  |  | 63.3
64 | 2 | 0.91 | 62.4 | 40 | 80 | Felindre | 51.7072 | -3.9726 | 63 | 6.85 | + | 6 | St. | Fergus | Terminal | 68.5
65 | 1 | 0 | 68.4 | 40 | 80 | Theddkethorpe | 53.3743 | 0.21294 | 64 | 6.24 | + | 6 | 0.91 |  |  | 62.4
66 | 1 | 0 | 67.8 | 40 | 80 | Teesside | 54.5715 | -1.2297 | 65 | 6.84 | + | 6 | Theddlethorpe | Terminal |  | 68.4
67 | 1 | 0 | 66.7 | 40 | 80 | Maelor | 53.0759 | -2.8477 | 66 | 6.78 | + | 6 | Teesside | Terminal |  | 67.8
68 | 1 | 0 | 66.1 | 40 | 80 | Barrow | 54.1092 | -3.2249 | 67 | 6.67 | + | 6 | Burton | Point | Terminal | 66.7
69 | 1 | 0 | 60 | 40 | 80 | Bacton | 52.8498 | 1.4651 | 68 | 6.61 | + | 6 | Barrow | Terminal |  | 66.1
70 | 1 | 0 | 69 | 40 | 80 | Isle of Grain | 51.4555 | 0.71879 | 69 | 6 | + | 6 | Bacton | Terminal |  | 60
71 | 1 | 0 | 67.8 | 40 | 80 | Easington | 53.6576 | 0.11763 | 70 | 6.9 | + | 6 | IOG | Terminal |  | 69
72 | 1 | 0 | 67.5 | 40 | 80 | Milford Haven | 51.7146 | -5.0419 | 71 | 6.78 | + | 6 | Easington | Terminal |  | 67.8
73 | 3 | 0 | 62.7 | 40 | 80 | Rough | 53.6603 | 0.11389 | 72 | 6.75 | + | 6 | Milford | Haven | Terminal | 67.5
74 | 2 | 3.74 | 51.3 | 40 | 80 | Glenmavis | 55.8861 | -3.9946 | 73 | 6.27 | + | 6 | 0 |  |  | 62.7
75 | 2 | 1.4 | 59.8 | 40 | 80 | Partington | 53.4186 | -2.4278 | 74 | 5.13 | + | 6 | 3.74 |  |  | 51.3
76 | 3 | 0 | 62.7 | 40 | 80 | Hatfield | 53.5746 | -1.0052 | 75 | 5.98 | + | 6 | 1.4 |  |  | 59.8
77 | 2 | 0.21 | 62.7 | 40 | 80 | Horn sea | 53.9101 | -0.17426 | 76 | 6.27 | + | 6 | 0 |  |  | 62.7
78 | 2 | 0.51 | 63.4 | 40 | 80 | Seabank | 51.5475 | -2.6395 | 77 | 6.27 | + | 6 | 0.21 |  |  | 62.7
[9 empty] | 78 | 6.34 | + | 6 | 0.51 |  |  | 63.4
%

## Gline
FromBus | ToBus | C | gf_min | gf_max | Length | Diameter | Friction | Predirection | Topology | raw data | Length(m) | Diameter(m)
61 | 62 | 11.7107 | 0 | 999 | 10 | 1.852 | 0.0025 | 0 | Pipeline | 1 | 10000 | 1.852 | 61 | 62 | Pipeline
1 | 3 | 4.4262 | 0 | 999 | 70 | 1.852 | 0.0025 | 0 | Pipeline | 2 | 70000 | 1.852 | 1 | 3 | Pipeline
2 | 5 | 1.1865 | 0 | 999 | 215 | 1.369 | 0.0025 | 0 | Pipeline | 3 | 215000 | 1.369 | 2 | 5 | Pipeline
2 | 7 | 0.78029 | 0 | 999 | 145 | 1.07 | 0.0025 | 0 | Pipeline | 4 | 145000 | 1.07 | 2 | 7 | Pipeline
4 | 7 | 0.19404 | 0 | 999 | 130 | 0.6 | 0.0025 | 0 | Pipeline | 5 | 130000 | 0.6 | 4 | 7 | Pipeline
4 | 12 | 1.2603 | 0 | 999 | 88 | 1.173 | 0.0025 | 0 | Pipeline | 6 | 88000 | 1.173 | 4 | 12 | Pipeline
11 | 13 | 1.7824 | 0 | 999 | 44 | 1.173 | 0.0025 | 0 | Pipeline | 7 | 44000 | 1.173 | 11 | 13 | Pipeline
6 | 10 | 0.74953 | 0 | 999 | 143 | 1.05 | 0.0025 | 0 | Pipeline | 8 | 143000 | 1.05 | 6 | 10 | Pipeline
8 | 10 | 1.9967 | 0 | 999 | 30 | 1.137 | 0.0025 | 0 | Pipeline | 9 | 30000 | 1.137 | 8 | 10 | Pipeline
13 | 10 | 0.59215 | 0 | 999 | 106 | 0.9 | 0.0025 | 0 | Pipeline | 10 | 106000 | 0.9 | 13 | 10 | Pipeline
13 | 16 | 1.165 | 0 | 999 | 103 | 1.173 | 0.0025 | 0 | Pipeline | 11 | 103000 | 1.173 | 13 | 16 | Pipeline
9 | 17 | 1.2814 | 0 | 999 | 95 | 1.199 | 0.0025 | 0 | Pipeline | 12 | 95000 | 1.199 | 9 | 17 | Pipeline
14 | 16 | 1.2551 | 0 | 999 | 51 | 1.05 | 0.0025 | 0 | Pipeline | 13 | 51000 | 1.05 | 14 | 16 | Pipeline
15 | 17 | 1.2978 | 0 | 999 | 93 | 1.2 | 0.0025 | 0 | Pipeline | 14 | 93000 | 1.2 | 15 | 17 | Pipeline
17 | 19 | 1.4958 | 0 | 999 | 70 | 1.2 | 0.0025 | 0 | Pipeline | 15 | 70000 | 1.2 | 17 | 19 | Pipeline
9 | 19 | 0.33639 | 0 | 999 | 132 | 0.75 | 0.0025 | 0 | Pipeline | 16 | 132000 | 0.75 | 9 | 19 | Pipeline
19 | 18 | 7.6388 | 0 | 999 | 28 | 1.918 | 0.0025 | 0 | Pipeline | 17 | 28000 | 1.918 | 19 | 18 | Pipeline
19 | 24 | 3.7414 | 0 | 999 | 60 | 1.679 | 0.0025 | 0 | Pipeline | 18 | 60000 | 1.679 | 19 | 24 | Pipeline
17 | 21 | 0.76208 | 0 | 999 | 64 | 0.9 | 0.0025 | 0 | Pipeline | 19 | 64000 | 0.9 | 17 | 21 | Pipeline
20 | 24 | 0.8537 | 0 | 999 | 51 | 0.9 | 0.0025 | 0 | Pipeline | 20 | 51000 | 0.9 | 20 | 24 | Pipeline
15 | 44 | 1.7461 | 0 | 999 | 100 | 1.371 | 0.0025 | 0 | Pipeline | 21 | 100000 | 1.371 | 15 | 44 | Pipeline
22 | 24 | 1.6331 | 0 | 999 | 35 | 1.082 | 0.0025 | 0 | Pipeline | 22 | 35000 | 1.082 | 22 | 24 | Pipeline
44 | 46 | 1.0305 | 0 | 999 | 35 | 0.9 | 0.0025 | 0 | Pipeline | 23 | 35000 | 0.9 | 44 | 46 | Pipeline
46 | 47 | 3.3344 | 0 | 999 | 50 | 1.546 | 0.0025 | 0 | Pipeline | 24 | 50000 | 1.546 | 46 | 47 | Pipeline
47 | 49 | 1.7862 | 0 | 999 | 67 | 1.277 | 0.0025 | 0 | Pipeline | 25 | 67000 | 1.277 | 47 | 49 | Pipeline
23 | 31 | 1.8939 | 0 | 999 | 85 | 1.371 | 0.0025 | 0 | Pipeline | 26 | 85000 | 1.371 | 23 | 31 | Pipeline
28 | 24 | 0.6903 | 0 | 999 | 78 | 0.9 | 0.0025 | 0 | Pipeline | 27 | 78000 | 0.9 | 28 | 24 | Pipeline
26 | 29 | 4.3783 | 0 | 999 | 29 | 1.546 | 0.0025 | 0 | Pipeline | 28 | 29000 | 1.546 | 26 | 29 | Pipeline
28 | 31 | 1.8694 | 0 | 999 | 40 | 1.173 | 0.0025 | 0 | Pipeline | 29 | 40000 | 1.173 | 28 | 31 | Pipeline
25 | 27 | 2.8592 | 0 | 999 | 68 | 1.546 | 0.0025 | 0 | Pipeline | 30 | 68000 | 1.546 | 25 | 27 | Pipeline
30 | 33 | 0.81469 | 0 | 999 | 56 | 0.9 | 0.0025 | 0 | Pipeline | 31 | 56000 | 0.9 | 30 | 33 | Pipeline
30 | 38 | 2.6725 | 0 | 999 | 43 | 1.373 | 0.0025 | 0 | Pipeline | 32 | 43000 | 1.373 | 30 | 38 | Pipeline
30 | 49 | 0.59497 | 0 | 999 | 105 | 0.9 | 0.0025 | 0 | Pipeline | 33 | 105000 | 0.9 | 30 | 49 | Pipeline
30 | 51 | 0.72353 | 0 | 999 | 71 | 0.9 | 0.0025 | 0 | Pipeline | 34 | 71000 | 0.9 | 30 | 51 | Pipeline
48 | 51 | 0.8537 | 0 | 999 | 51 | 0.9 | 0.0025 | 0 | Pipeline | 35 | 51000 | 0.9 | 48 | 51 | Pipeline
32 | 38 | 0.95213 | 0 | 999 | 41 | 0.9 | 0.0025 | 0 | Pipeline | 36 | 41000 | 0.9 | 32 | 38 | Pipeline
25 | 33 | 1.095 | 0 | 999 | 31 | 0.9 | 0.0025 | 0 | Pipeline | 37 | 31000 | 0.9 | 25 | 33 | Pipeline
35 | 25 | 0.5453 | 0 | 999 | 125 | 0.9 | 0.0025 | 0 | Pipeline | 38 | 125000 | 0.9 | 35 | 25 | Pipeline
32 | 35 | 0.68162 | 0 | 999 | 80 | 0.9 | 0.0025 | 0 | Pipeline | 39 | 80000 | 0.9 | 32 | 35 | Pipeline
34 | 37 | 1.5884 | 0 | 999 | 37 | 1.082 | 0.0025 | 0 | Pipeline | 40 | 37000 | 1.082 | 34 | 37 | Pipeline
37 | 36 | 1.6876 | 0 | 999 | 23 | 1.008 | 0.0025 | 0 | Pipeline | 41 | 23000 | 1.008 | 37 | 36 | Pipeline
38 | 40 | 1.803 | 0 | 999 | 43 | 1.173 | 0.0025 | 0 | Pipeline | 42 | 43000 | 1.173 | 38 | 40 | Pipeline
39 | 42 | 0.65887 | 0 | 999 | 145 | 1 | 0.0025 | 0 | Pipeline | 43 | 145000 | 1 | 39 | 42 | Pipeline
41 | 43 | 0.33025 | 0 | 999 | 97 | 0.7 | 0.0025 | 0 | Pipeline | 44 | 97000 | 0.7 | 41 | 43 | Pipeline
60 | 43 | 0.13914 | 0 | 999 | 60 | 0.45 | 0.0025 | 0 | Pipeline | 45 | 60000 | 0.45 | 60 | 43 | Pipeline
52 | 60 | 0.26443 | 0 | 999 | 70 | 0.6 | 0.0025 | 0 | Pipeline | 46 | 70000 | 0.6 | 52 | 60 | Pipeline
50 | 59 | 1.2488 | 0 | 999 | 65 | 1.1 | 0.0025 | 0 | Pipeline | 47 | 65000 | 1.1 | 50 | 59 | Pipeline
52 | 54 | 0.41991 | 0 | 999 | 60 | 0.7 | 0.0025 | 0 | Pipeline | 48 | 60000 | 0.7 | 52 | 54 | Pipeline
53 | 55 | 0.41991 | 0 | 999 | 60 | 0.7 | 0.0025 | 0 | Pipeline | 49 | 60000 | 0.7 | 53 | 55 | Pipeline
55 | 64 | 0.37942 | 0 | 999 | 34 | 0.6 | 0.0025 | 0 | Pipeline | 50 | 34000 | 0.6 | 55 | 64 | Pipeline
57 | 64 | 1.9279 | 0 | 999 | 10 | 0.9 | 0.0025 | 0 | Pipeline | 51 | 10000 | 0.9 | 57 | 64 | Pipeline
58 | 59 | 0.44702 | 0 | 999 | 186 | 0.9 | 0.0025 | 0 | Pipeline | 52 | 186000 | 0.9 | 58 | 59 | Pipeline
46 | 45 | 0.4947 | 0 | 999 | 20 | 0.6 | 0.0025 | 0 | Pipeline | 53 | 20000 | 0.6 | 46 | 45 | Pipeline
56 | 57 | 1.1521 | 0 | 999 | 28 | 0.9 | 0.0025 | 0 | Pipeline | 54 | 28000 | 0.9 | 56 | 57 | Pipeline
5 | 74 | 0.52146 | 0 | 999 | 18 | 0.6 | 0.0025 | 0 | Pipeline | 55 | 18000 | 0.6 | 5 | 74 | Pipeline
60 | 78 | 0.21136 | 0 | 999 | 26 | 0.45 | 0.0025 | 0 | Pipeline | 56 | 26000 | 0.45 | 60 | 78 | Pipeline
19 | 77 | 2.7265 | 0 | 999 | 5 | 0.9 | 0.0025 | 0 | Pipeline | 57 | 5000 | 0.9 | 19 | 77 | Pipeline
46 | 75 | 3.5199 | 0 | 999 | 3 | 0.9 | 0.0025 | 0 | Pipeline | 58 | 3000 | 0.9 | 46 | 75 | Pipeline
17 | 76 | 0.6136 | 0 | 999 | 13 | 0.6 | 0.0025 | 0 | Pipeline | 59 | 13000 | 0.6 | 17 | 76 | Pipeline
18 | 73 | 1.2621 | 0 | 999 | 29 | 0.94 | 0.0025 | 0 | Pipeline | 60 | 29000 | 0.94 | 18 | 73 | Pipeline
63 | 61 | 69.9616 | 0 | 999 | 0.001 | 0.6 | 0.0025 | 1 | Pressure regulator | 61 | 1 | 0.6 | 63 | 61 | Pressure | regulator
66 | 8 | 69.9616 | 0 | 999 | 0.001 | 0.6 | 0.0025 | 1 | Pressure regulator | 62 | 1 | 0.6 | 66 | 8 | Pressure | regulator
68 | 14 | 69.9616 | 0 | 999 | 0.001 | 0.6 | 0.0025 | 1 | Pressure regulator | 63 | 1 | 0.6 | 68 | 14 | Pressure | regulator
71 | 18 | 69.9616 | 0 | 999 | 0.001 | 0.6 | 0.0025 | 1 | Pressure regulator | 64 | 1 | 0.6 | 71 | 18 | Pressure | regulator
65 | 22 | 69.9616 | 0 | 999 | 0.001 | 0.6 | 0.0025 | 1 | Pressure regulator | 65 | 1 | 0.6 | 65 | 22 | Pressure | regulator
69 | 25 | 69.9616 | 0 | 999 | 0.001 | 0.6 | 0.0025 | 1 | Pressure regulator | 66 | 1 | 0.6 | 69 | 25 | Pressure | regulator
70 | 36 | 69.9616 | 0 | 999 | 0.001 | 0.6 | 0.0025 | 1 | Pressure regulator | 67 | 1 | 0.6 | 70 | 36 | Pressure | regulator
72 | 56 | 69.9616 | 0 | 999 | 0.001 | 0.6 | 0.0025 | 1 | Pressure regulator | 68 | 1 | 0.6 | 72 | 56 | Pressure | regulator
67 | 45 | 69.9616 | 0 | 999 | 0.001 | 0.6 | 0.0025 | 1 | Pressure regulator | 69 | 1 | 0.6 | 67 | 45 | Pressure | regulator
62 | 1 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Electrical compressor | 70 | 1 | 0 | 62 | 1 | Electrical | compressor(1)
3 | 2 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Electrical compressor | 71 | 1 | 0 | 3 | 2 | Electrical | compressor(2)
5 | 4 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 72 | 1 | 0 | 5 | 4 | Compressor(3)
7 | 6 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 73 | 1 | 0 | 7 | 6 | Compressor(4)
12 | 11 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 74 | 1 | 0 | 12 | 11 | Compressor(5)
10 | 9 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 75 | 1 | 0 | 10 | 9 | Compressor(6)
16 | 15 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 76 | 1 | 0 | 16 | 15 | Compressor(7)
49 | 48 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Electrical compressor | 77 | 1 | 0 | 49 | 48 | Electrical | compressor(8)
51 | 50 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 78 | 1 | 0 | 51 | 50 | Compressor(9)
21 | 20 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 79 | 1 | 0 | 21 | 20 | Compressor(10)
24 | 23 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 80 | 1 | 0 | 24 | 23 | Compressor(11)
31 | 30 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Electrical compressor | 81 | 1 | 0 | 31 | 30 | Electrical | compressor(12)
29 | 28 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 82 | 1 | 0 | 29 | 28 | Compressor(13)
33 | 32 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 83 | 1 | 0 | 33 | 32 | Compressor(14)
27 | 26 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 84 | 1 | 0 | 27 | 26 | Compressor(15)
35 | 34 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 85 | 1 | 0 | 35 | 34 | Compressor(16)
40 | 39 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 86 | 1 | 0 | 40 | 39 | Compressor(17)
42 | 41 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 87 | 1 | 0 | 42 | 41 | Compressor(18)
59 | 52 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 88 | 1 | 0 | 59 | 52 | Compressor(19)
54 | 53 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Gas compressor | 89 | 1 | 0 | 54 | 53 | Compressor(20)
64 | 58 | 999999 | 0 | 999 | 0.001 | 0 | 0.0025 | 1 | Electrical compressor | 90 | 1 | 0 | 64 | 58 | Electrical | compressor(21)
|  | 假设100% NG |  |  | (km) | (m)

## Gsou
BusID | Qgs0 | Qgs_min | Qgs_max | Name | Entry zone | ASEP | Obligated capacity (GWh/day) | 2021/2022 GWh/day | 2025/2026 GWh/day | 2026/2027 GWh/day
63 | 68.5 | 0 | 1670.7 | St. Fergus Terminal | Northern Triangle | Barrow | 340.01 | 269.94 | 340.01 | 340.01
65 | 68.4 | 0 | 610.7 | Theddlethorpe Terminal | Northern Triangle | Canonbie | 0 | 0 | 0 | 0
66 | 67.8 | 0 | 445.09 | Teesside Terminal | Northern Triangle | Glenmavis | 99 | 99 | 99 | 99
67 | 66.7 | 0 | 73.5 | Burton Point Terminal | Northern Triangle | St Fergus | 1670.7 | 1624.86 | 1666.94 | 1670.7
68 | 66.1 | 0 | 340.01 | Barrow Terminal | Northern Triangle | Teesside | 445.09 | 322.13 | 399.5 | 407.31
69 | 60 | 0 | 1783.4 | Bacton Terminal | North West | Burton Point | 73.5 | 73.5 | 73.5 | 73.5
70 | 69 | 0 | 699.68 | Isle of Grain Terminal | North West | Cheshire (includes Holford and Stublach storage facilities) | 556.27 | 28.59 | 28.59 | 28.59
71 | 67.8 | 0 | 1407.15 | Easington Terminal | North West | Fleetwood | 350 | 329.55 | 70 | 35
72 | 67.5 | 0 | 950 | Milford Haven Terminal | North West | Hole House Farm (includes Hill Top Farm storage facility) | 296.6 | 13.16 | 136.18 | 178.16
[5 empty] | North West | Partington | 201.43 | 201.43 | 201.43 | 201.43
Adequacy and security analysis of interdependent electric and gas networks这篇文章没有max值，所以得从其他地方拿 |  |  |  |  | North West | Caythorpe | 90 | 0 | 90 | 90
GTYS2021 TableA6.4 |  |  |  |  | Easington Area | Easington | 1407.15 | 140.72 | 647.48 | 771.66
|  |  | (GWh/day) |  | Easington Area | Garton (includes Aldbrough storage facility) | 420 | 0 | 420 | 420
[5 empty] | Easington Area | Hatfield Moor (onshore) | 0.3 | 0.3 | 0.3 | 0.3
[5 empty] | Easington Area | Hornsea | 233.1 | 27.31 | 233.1 | 233.1
[5 empty] | Easington Area | Hatfield Moor (storage) | 25 | 610.7 | 25 | 25
[5 empty] | Easington Area | Theddlethorpe | 610.7 | 610.7 | 610.7 | 610.7
[5 empty] | Easington Area | Avonmouth | 179.3 | 179.3 | 179.3 | 179.3
[5 empty] | Easington Area | Barton Stacey (includes Humbley Grove storage facility) | 172.6 | 100.6 | 172.6 | 172.6
[5 empty] | Easington Area | Dynevor Arms | 49 | 49 | 49 | 49
[5 empty] | South West | Milford Haven | 950 | 95 | 95 | 95
[5 empty] | South West | Wytch Farm | 3.3 | 3.3 | 3.3 | 3.3
[5 empty] | South West | Bacton IP | 1297.8 | 1146.3 | 1297.8 | 1297.8
[5 empty] | South East | Bacton UKCS | 485.6 | 0 | 180.02 | 485.6
[5 empty] | South East | Isle of Grain | 699.68 | 35.38 | 277.08 | 277.08
蓝色表示气源terminal，绿色表示LNG，其他是储气

## Gcost
Price | DateTime | Gas cost (£/GWh) | DateTime | 英国是全国统一价格。调度者在调度时不考虑能源成本最优，而是考虑边际操作最优（比如压缩机少用能等）
16480.8941 | 2021-02-01 |  |  | 从ofgem下载https://www.ofgem.gov.uk/energy-data-and-research/data-portal/wholesale-market-indicators
16706.1455 | 2021-02-08
16095.2364 | 2021-02-15
15757.3593 | 2021-02-22
15842.6818 | 2021-03-01
15921.1785 | 2021-03-08
15958.7204 | 2021-03-15
16286.3588 | 2021-03-22
17422.8545 | 2021-03-29
17934.7895 | 2021-04-05
18426.2471 | 2021-04-12
17873.3573 | 2021-04-19
19487.659 | 2021-04-26
21323.7992 | 2021-05-03
22494.4239 | 2021-05-10
20770.9094 | 2021-05-17
21074.6575 | 2021-05-24
20972.2705 | 2021-05-31
23368.1263 | 2021-06-07
24173.5707 | 2021-06-14
23644.5712 | 2021-06-21
25381.7373 | 2021-06-28
28777.5728 | 2021-07-05
28132.5347 | 2021-07-12
25415.8663 | 2021-07-19
28415.8054 | 2021-07-26
21975.6631 | 2021-08-02
25419.2792 | 2021-08-09
24620.6606 | 2021-08-16
25340.7825 | 2021-08-23
26054.0786 | 2021-08-30
27388.5225 | 2021-09-06
28507.9537 | 2021-09-13
31101.7577 | 2021-09-20
38357.5831 | 2021-09-27
39258.5887 | 2021-10-04
36473.6623 | 2021-10-11
39176.6791 | 2021-10-18
38401.9508 | 2021-10-25
36060.7014 | 2021-11-01
35422.4891 | 2021-11-08
37801.2804 | 2021-11-15
38115.2672 | 2021-11-22
39504.3175 | 2021-11-29
51278.8225 | 2021-12-06
64800.7323 | 2021-12-13
92189.2548 | 2021-12-20
62991.8953 | 2021-12-27
71131.6618 | 2022-01-03
62418.5281 | 2022-01-10
53961.3619 | 2022-01-17
71769.8741 | 2022-01-24
60053.3884 | 2022-01-31
58817.9186 | 2022-02-07
54992.0577 | 2022-02-14
66247.8019 | 2022-02-21
100509.905 | 2022-02-28
107342.5308 | 2022-03-07
75066.7355 | 2022-03-14
78012.0682 | 2022-03-21
78728.7772 | 2022-03-28
88428.239 | 2022-04-04
80786.7559 | 2022-04-11
77240.7528 | 2022-04-18
74899.5034 | 2022-04-25
76520.6309 | 2022-05-02
75350.0062 | 2022-05-09
76165.6893 | 2022-05-16
73527.5176 | 2022-05-23
77995.0037 | 2022-05-30
76384.1149 | 2022-06-06
84691.1135 | 2022-06-13
90318.9856 | 2022-06-20
92643.1705 | 2022-06-27
120209.1638 | 2022-07-04
136215.6648 | 2022-07-11
125976.9648 | 2022-07-18
143635.3094 | 2022-07-25
116489.1028 | 2022-08-01
131232.8308 | 2022-08-08
172897.514 | 2022-08-15
202234.8024 | 2022-08-22
152775.0556 | 2022-08-29
160157.1583 | 2022-09-05
149218.8138 | 2022-09-12
148549.8854 | 2022-09-19
149638.6005 | 2022-09-26
147307.5898 | 2022-10-03
140812.8411 | 2022-10-10
124407.0308 | 2022-10-17
116100.0322 | 2022-10-24
105619.0163 | 2022-10-31
100175.4408 | 2022-11-07
98260.8039 | 2022-11-14
107530.2403 | 2022-11-21
116383.3029 | 2022-11-28
118482.2364 | 2022-12-05
113243.4349 | 2022-12-12
85295.1968 | 2022-12-19
74278.3556 | 2022-12-26
65019.1579 | 2023-01-02
65684.6734 | 2023-01-09
58217.2482 | 2023-01-16
55804.3279 | 2023-01-23
55364.0638 | 2023-01-30
52637.1567 | 2023-02-06
50012.6366 | 2023-02-13
46927.375 | 2023-02-20
46227.7305 | 2023-02-27
43118.5786 | 2023-03-06
43767.0296 | 2023-03-13
41845.5669 | 2023-03-20
44592.9514 | 2023-03-27
49097.9794 | 2023-04-03
46005.892 | 2023-04-10
45036.6284 | 2023-04-17
44231.184 | 2023-04-24
42169.7924 | 2023-05-01
41893.3475 | 2023-05-08
38616.9635 | 2023-05-15
40122.0524 | 2023-05-22
36565.8106 | 2023-05-29
37289.3454 | 2023-06-05
46978.5685 | 2023-06-12
46207.2531 | 2023-06-19
43722.6619 | 2023-06-26
44589.5385 | 2023-07-03
42391.6309 | 2023-07-10
42695.379 | 2023-07-17
43777.2683 | 2023-07-24
40709.0712 | 2023-07-31
42087.8828 | 2023-08-07
45855.7244 | 2023-08-14
47442.7229 | 2023-08-21
46094.6274 | 2023-08-28
45685.0794 | 2023-09-04
45101.4735 | 2023-09-11
44732.8803 | 2023-09-18
43835.2876 | 2023-09-25
40927.4968 | 2023-10-02
47746.471 | 2023-10-09
48005.8514 | 2023-10-16
47115.0845 | 2023-10-23
43302.8752 | 2023-10-30
42640.7726 | 2023-11-06
42200.5085 | 2023-11-13
41893.3475 | 2023-11-20
37739.8482 | 2023-11-27
36429.2946 | 2023-12-04
33453.2458 | 2023-12-11
30586.4098 | 2023-12-18
30432.8293 | 2023-12-25
29050.6048 | 2024-01-01
27531.8643 | 2024-01-08
27142.7937 | 2024-01-15
26572.8394 | 2024-01-22
27586.4707 | 2024-01-29
26333.9364 | 2024-02-05
24115.5514 | 2024-02-12
23921.0161 | 2024-02-19
24197.461 | 2024-02-26
25897.0852 | 2024-03-04
24098.4869 | 2024-03-11
26436.3234 | 2024-03-18
26733.2457 | 2024-03-25
25456.8211 | 2024-04-01
27931.1736 | 2024-04-08
30265.5972 | 2024-04-15
29258.7917 | 2024-04-22
29272.4433 | 2024-04-29
30214.4037 | 2024-05-06
30088.1264 | 2024-05-13
33804.7745 | 2024-05-20
33736.5165 | 2024-05-27
32978.8527 | 2024-06-03
32483.9822 | 2024-06-10
29470.3915 | 2024-06-17
33381.5749 | 2024-06-24
33125.6074 | 2024-07-01
31565.9121 | 2024-07-08
31821.8796 | 2024-07-15
31821.8796 | 2024-07-22
33767.2326 | 2024-07-29
35279.1473 | 2024-08-05
35681.8695 | 2024-08-12
35965.1402 | 2024-08-19
35487.3342 | 2024-08-26
34125.5871 | 2024-09-02
31709.2539 | 2024-09-09
31439.6348 | 2024-09-16
30695.6226 | 2024-09-23
32849.1625 | 2024-09-30
32992.5043 | 2024-10-07
33197.2783 | 2024-10-14
34398.6191 | 2024-10-21
34094.871 | 2024-10-28
32931.0721 | 2024-11-04
36715.9782 | 2024-11-11
34330.3611 | 2024-11-18
37139.1778 | 2024-11-25
36456.5978 | 2024-12-02
30890.1579 | 2024-12-09
34603.3931 | 2024-12-16
37149.4165 | 2024-12-23
39924.1042 | 2024-12-30
38064.0737 | 2025-01-06
39678.3754 | 2025-01-13
40108.4008 | 2025-01-20
39159.6146 | 2025-01-27
43121.9915 | 2025-02-03
43811.3973 | 2025-02-10
31565.9121 | 2025-02-17
34965.1605 | 2025-02-24

## Gstore
BusID | Volume | inj_max | withd_max | Cushion | Ks | K1s | K2s
74 | 46500000 | 107.64 | 4.9 | 10000 | 0.0158 | 490 | -2.15e-08
77 | 320000000 | 214.12 | 23.15 | 158000000 | 0.012 | 356000 | -2.09e-09
76 | 116000000 | 27.78 | 27.78 | 174000000 | 0.00258 | 579000 | -3.45e-09
75 | 103000000 | 234.03 | 2.56 | 10000 | 0.023 | 256 | -9.69e-09
47 | 25000000 | 32.41 | 64.81 | 12300000 | 0.00648 | 278000 | -2.68e-08 | 46500000 | 107.64 | 4.9
42 | 280000000 | 86.81 | 98.38 | 420000000 | 0.00519 | 3190000 | -1.43e-09 | 320000000 | 214.12 | 23.15
78 | 80600000 | 166.32 | 2.45 | 10000 | 0.0185 | 245 | -1.24e-08 | 116000000 | 27.78 | 27.78
55 | 28000000 | 52.39 | 2.77 | 10000 | 0.0099 | 277 | -3.57e-08 | 103000000 | 234.03 | 2.56
73 | 3340000000 | 509.26 | 173.6 | 5200000000 | 0.00881 | 20000000 | -1.17e-10 | 25000000 | 32.41 | 64.81
[8 empty] | 280000000 | 86.81 | 98.38
Node | W. volume (m3) | Max. inj. (m3/s) | max withd | Cushion gas (m3) | Ks | K1s | K2s | 80600000 | 166.32 | 2.45
[8 empty] | 28000000 | 52.39 | 2.77
[8 empty] | 3340000000 | 509.26 | 173.6

## GEcon
EbusID | GbusID
2 | 2 | 'Peterhead' | Aberdeen | 1 | 'Beauly' | 1 | St. Fergus
4 | 4 | 'Denny/Bonnybridge' | Bathgate | 2 | 'Peterhead' | 2 | Aberdeen
5 | 5 | 'Neilston' | Bathgate | 3 | 'Errochty' | 3 | Aberdeen
10 | 10 | 'Stella West' | Bishop Auckland | 4 | 'Denny/Bonnybridge' | 4 | Bathgate
11 | 44 | 'Penwortham' | Howcleugh | 5 | 'Neilston' | 5 | Bathgate
12 | 46 | 'Deeside' | Howcleugh | 6 | 'Strathaven' | 6 | Wooler
16 | 20 | 'Keadby' | Blyborough | 7 | 'Torness' | 7 | Wooler
18 | 37 | 'Feckenham' | Shorne | 8 | 'Eccles' | 8 | Teesside
19 | 28 | 'Walpole' |  | 9 | 'Harker' | 9 | Bishop Auckland
21 | 33 | 'Pelham' |  | 10 | 'Stella West' | 10 | Bishop Auckland
22 | 30 | 'Sundon/East Claydon' |  | 11 | 'Penwortham' | 11 | Howcleugh
23 | 59 | 'Melksham' |  | 12 | 'Deeside' | 12 | Howcleugh
25 | 38 | 'London' |  | 13 | 'Daines' | 13 | Longtown
26 | 36 | 'Kemsley' |  | 14 | 'Th. Marsh/Stocksbridge' | 14 | Barrow
28 | 41 | 'Lovedean' |  | 15 | 'Thornton/Drax/Eggborough' | 15 | Lupton
29 | 43 | 'S.W.Penisula' |  | 16 | 'Keadby' | 16 | Lupton
|  |  |  | 17 | 'Ratcliffe' | 17 | Asselby
|  |  |  | 18 | 'Feckenham' | 18 | Easington
|  |  |  | 19 | 'Walpole' | 19 | Paull
|  |  |  | 20 | 'Bramford' | 20 | Blyborough
|  |  |  | 21 | 'Pelham' | 21 | Blyborough
|  |  |  | 22 | 'Sundon/East Claydon' | 22 | Theddkethorpe
|  |  |  | 23 | 'Melksham' | 23 | Hatton
|  |  |  | 24 | 'Bramley' | 24 | Hatton
|  |  |  | 25 | 'London' | 25 | Bacton
|  |  |  | 26 | 'Kemsley' | 26 | Kings Lynn
|  |  |  | 27 | 'Sellindge' | 27 | Kings Lynn
|  |  |  | 28 | 'Lovedean' | 28 | Wisbech
|  |  |  | 29 | 'S.W.Penisula' | 29 | Wisbech
|  |  |  | 30 | 'Netherlands' | 30 | Peterborough
|  |  |  | 31 | 'Belgium' | 31 | Peterborough
|  |  |  | 32 | 'France1' | 32 | Huntingdon
|  |  |  | 33 | 'France2' | 33 | Huntingdon
|  |  |  | 34 | 'Ireland' | 34 | Chelmsford
|  |  |  | 35 | 'N. Ireland' | 35 | Chelmsford
[6 empty] | 36 | Isle of Grain
[6 empty] | 37 | Shorne
[6 empty] | 38 | Steppingley
[6 empty] | 39 | Aylesbury
[6 empty] | 40 | Aylesbury
[6 empty] | 41 | Lockerley
[6 empty] | 42 | Lockerley
[6 empty] | 43 | Ilchester
[6 empty] | 44 | Warrington
[6 empty] | 45 | Maelor
[6 empty] | 46 | Mickle Trafford
[6 empty] | 47 | Audley
[6 empty] | 48 | Alrewas
[6 empty] | 49 | Alrewas
[6 empty] | 50 | Churchover
[6 empty] | 51 | Churchover
[6 empty] | 52 | Wormington
[6 empty] | 53 | Llanvetherine
[6 empty] | 54 | Llanvetherine
[6 empty] | 55 | Dowlais
[6 empty] | 56 | Milford Haven
[6 empty] | 57 | Felindre
[6 empty] | 58 | Felindre
[6 empty] | 59 | Wormington
[6 empty] | 60 | Pucklechurch
[6 empty] | 61 | St. Fergus
[6 empty] | 62 | St. Fergus
[6 empty] | 63 | St. Fergus
[6 empty] | 64 | Felindre
[6 empty] | 65 | Theddkethorpe
[6 empty] | 66 | Teesside
[6 empty] | 67 | Maelor
[6 empty] | 68 | Barrow
[6 empty] | 69 | Bacton
[6 empty] | 70 | Isle of Grain
[6 empty] | 71 | Easington
[6 empty] | 72 | Milford Haven
[6 empty] | 73 | Rough
[6 empty] | 74 | Glenmavis
[6 empty] | 75 | Partington
[6 empty] | 76 | Hatfield
[6 empty] | 77 | Horn sea
[6 empty] | 78 | Seabank

## ptg
electricity bus | gas bus | effciency | min cap | max cap
近期的根据政府竞标结果https://www.gov.uk/government/collections/hydrogen-allocation-rounds#hydrogen-allocation-round-1-(har1)